|  | KEMENTERIAN AGAMA REPUBLIK INDONESIA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG FAKULTAS SAINS DAN TEKNOLOGI Kampus 1 JalanGajayana 50 Malang 65144, Telepon (0341) 558933, Faksimile (0341) 558933 Website : saintek.uin-malang.ac.id Email : saintek@uin-malang.ac.id |
| --- | --- |

Nomor 		: 1323.A/FST.1/KS.01.7/05/2019					27 Mei 2019

Lampiran 	:1 (satu) bendel

Perihal 		:Permintaan Informasi Harga Barang

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Revitalisasi Peralatan Laboratorium Jurusan Fisika Fakultas Sains dan Teknologi UIN Maulana Malik Ibrahim Malang, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang Harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Informasi harga barang tersebut akan kami jadikan dasar survey Harga Perkiraan sendiri (HPS)

Kami harap data barang dapat kami terima paling lambat pada :

Hari			: Rabu

Tanggal		: 12 Juni 2019

Jam			: 14.00 WIB

Tempat 		: Fakultas Sains dan Teknologi Gedung BJ. Habibie Lantai 1

Jl. Gajayana No. 50 Malang (0341) 558933

Adapun informasi harga tersebut bisa dikirim via e-mail ke : saintek@uin-malang.ac.id atau bisa dikirim langsung ke kantor Fakultas Sains dan Teknologi telp (0341) 558933.

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

TTD

Dr. Anton Prasetyo, M.Si.

Lampiran	: Surat Permintaan Informasi Harga Barang

Nomor 	: 1323.A/FST.1/KS.01.7/05/2019

Tanggal 	: 27 Mei 2018

RincianAnggaran Biaya (RAB)

Pekerjaan 	: 	Pengadaan Revitalisasi Peralatan Laboratorium Jurusan Fisika Fakultas Sains dan Teknologi UIN Maulana Malik Ibrahim Malang

Lokasi		:	UIN Maulana Malik Ibrahim Malang

Tahun Anggaran 	: 	2019

| No. | Nama Barang | Spesifikasi Barang | Volume | Harga (Rp. | Jumlah (Rp) |
| --- | --- | --- | --- | --- | --- |
| 1. | Komputer | Tipe Processor AMD Ryzen 3 PRO Processor Onboard AMD Ryzen 3 PRO 2200G CPU Speed 3.5 GHz - 3.7 GHz, 6 MB cache Memory RAM 4GB DDR4 2666 Storage 500GB Tipe Storage HDD Display V194 18.5 inch [V5E94AA] Sistem Operasi Microsoft Windows 10 Home Graphics AMD Vega 8 Series Keyboard USB Wired Keyboard Mouse USB Wired Mouse LAN Integrated 10/100/1000M GbE Optical Disc Drive DVD Writer I/O Ports Front :1 HDMI; 1 line in; 1 line out; 1 microphone-in; 1 RJ-45; 1 serial; 1 VGA; 2 USB 2.0; 4 USB 3.1 Gen 1 Rear: 1 line out; 1 power connector; 1 RJ-45; 2 USB 2.0 Form Factor MT Warranty 1/1/1 Warranty | 4 Unit |  |  |
| 2. | AC | Type: AH-A12UCY FEATURES Colour White Jetstream No Coanda No Low Wattage No Turbo Cooling Yes Plasmacluster No Auto Swing Louver 2 - Way Auto Swing Anti Rust Evaporator No Self Cleaning Function Yes, X-Fan Function Remote Control Yes Coverage Floor Area 16 - 26 m2 CAPACITY Cool 3.81 kW Capacity 1.5 PK Cooling Capacity 13.000 BTU PIPE DIAMETER Liquid Side 1/4 inch Gas Side 1/2 inch Refrigerant Volume R32 POWER SUPPLY Rated Frequency 50 Hz Rated Voltage 220 Volt Rated Current 7.5 Ampere Rate Input 1080 Watt DIMENSIONS In Door 845 x 289 x 209 mm Out Door 848 x 540 x 320 mm NET WEIGHT In Door 10.5 kg Out Door 29.5 kg Include Pemasangan dan perlengkapan (Bracket, Pipa AC, Pipa pembuangan dan kabel listrik) | 4 Unit |  |  |
| 3. | Furnace | Model FD1540M-33 Amperage 6.5A Capacity (Metric) 2.2L Certifications/Compliance All units cUL, UL listed; -33 units also CE marked. Capacity 0.08 cu.ft., 2.2L Capacity (English) 0.08 cu.ft. Depth (English) Interior 9 in. Depth (Metric) Interior 22.8cm Dimensions (D x W x H) Interior 9 x 4 x 3.75 in. (22.8 x 10.1 x 9.5cm) Dimensions (L x W x H) Exterior 18 x 11 x 16.5 in. (45.7 x 27.9 x 41.9cm) Height (English) Exterior 16.5 in. Height (English) Interior 3.75 in. Height (Metric) Interior 9.5cm Height (Metric) Exterior 41.9cm Length (English) Exterior 18 in. Hertz 50/60Hz Length (Metric) Exterior 45.7cm Power Consumption 1560w Shipping Weight (English) 52 lb. Shipping Weight (Metric) 23.5kg Temperature Control Digital programmable 1 program/8 segments Temperature Range (Metric) 100° to 1200°C Type Multisegment Single program Voltage 240V Width (English) Interior 4 in. Width (English) Exterior 11 Width (Metric) Exterior 27.9 Electrical Requirements 240V 50/60Hz Width (Metric) Interior 10.1cm Termasuk Training alat | 1 Set |  |  |
| 4. | Function Generator | Type/Merk: AFG1022 Range: e: 1 μHz to 25 MHz Sine wave in burst mode: 2 mHz to 25 MHz Effective maximum frequency out: 25 MHz Amplitude flatness (1 Vp-p), typical- <10 MHz: ±0.4 dB - ≥10 MHz and ≤25 MHz: ±0.7 dB Total harmonic distortion: < 0.2% (10 Hz to 20 kHz, 1 Vp-p) Spurious (1 Vp-p), typical: < -45 dBc Phase noise, typical: 1 MHz: < -110 dBc/Hz at 10 kHz offset, 1 Vp-p Residual clock noise, typical: -57 dBm Square wave Range: 1 μHz to 12.5 MHz Rise/fall time, typical: <12 ns Jitter (rms), typical: <1 ns DC range: -5 V to +5 V, 50 Ω load; -10 V to + 10 V, open circuit or high Z load Arbitrary waveform Range: 1 μHz to 10 MHz Arbitrary waveform in burst mode: 2 mHz to 10 MHz Sampling rate: 125 MS/s Continuous, sweeping, burst, and modulation modes (AM, FM, PM, ASK, FSK, PSK, PWM) covers most requirements for students and other users to get the experiments/test job done 64-MByte internal non-volatile memory for arbitrary waveform storage | 2 Unit |  |  |
| 5. | Power Supply | TYPE: PL-3005S Diskripsi Spesifikasi Output Watt 150w Output Voltage 0-30V Output Current 0-5A Accuracy Voltage:100mV/Current :10mA (3 digit display) Accuracy ± 0.05% Port Type Single type Current stepwise 30mA±3mA Line Regulation CV ≤ 5x10-4mV/CC ≤ 5x10-4mV/CV ≤ 5x10-4mA/CC ≤ 5x10-4mV Load Regulation CV ≤ 5x10-4mV/CC ≤ 5x10-4mV/CV ≤ 5x10-4mA/CC ≤ 5x10-4mV Riple & Noise CV ≤ 0.5mV / CV ≤ 2mV / 0.1 % + 10mA Standart Products Manual, Output cable 1 set, power cable Operation Condition 0~40oC ≤ 40% ~ 90% Display Type Back Light 3 Digit LCD Power Source AC 100 or 220 V (1 ± 10%). 50Hz ((1±5%).20VA (Adjustable by toggle Button) Dimentions 130 x 190 x 270 Weight 5.6Kg | 6 Unit |  |  |
| 6. | Laptop | HP Business Notebook 240 G6 [4RK03PA] Platform Notebook Tipe Prosesor Intel Core i3 Processor Onboard Intel® Core™ i3-7020U Processor (2.30 GHz, 3M Cache) Kapasitas Penyimpanan 1TB HDD Memori Standar 4GB DDR4 Optical Drive Type DVDRW Tipe Grafis Intel HD Graphics Ukuran Layar 14 Inch Resolusi Layar 1366 x 768 Tipe Layar Anti-Glare Display Layar Sentuh Tidak Networking Integrated Wireless Network Type Integrated Wireless Network Protocol 802.11 B/G/N Wireless Bluetooth Integrated Antarmuka / Interface USB 3.0 2x USB 2.0 HDMI VGA LAN Port Keyboard Standard Keyboard Ragam Input Device Touch Pad Audio Integrated Speaker Integrated Sistem Operasi Microsoft Windows 10 Home | 2 Unit |  |  |
| 7. | CLAMP | Number : 009A Name: Three point bending clamp Note: Sandblasting oxidation of bright silver | 1 Unit |  |  |
| 8. | LCD | EPSON EB-X450 XGA Projection Technology: Projection Technology:RGB liquid crystal shutter projection system Brightness*2: White Light Output (Normal/Eco):3,600lm / 2,235lmColour Light Output:3,600lm Connectivity: USB Interface:USB Type A: 1 (for USB Memory, USB Document Camera, for Wireless LAN Unit, Firmware Update) USB Type B: 1 (for USB Display, Mouse, K/B, Control, Firmware Update) Analog Input:D-Sub 15pin: 1 (Blue molding) Composite: RCA x 1 (Yellow) Digital Input:HDMI: 1 (MHL not supported) Audio Input:2 RCA (White / Red): 1 Contrast Ratio: Contrast Ratio:15,000:1 Screen Size (Projected Distance): Standard Size:60” screen 1.8 - 2.17 mZoom : Wide:30” - 300” [0.89 - 9.12 m]Zoom : Tele:30” - 300” [1.07 - 10.95 m] Geometric Correction: Vertical/Horizontal Keystone:±30° / ±30°Auto Keystone:Yes (Vertical only)Horizontal Slide Keystone Correction:YesQuick Corner:Yes Operating Temperature: Operating Temperature:5 - 35 °C <41 - 95 °F> (0m / 0ft - 2,286m / 7,500ft) 5 - 30 °C <41 - 86 °F> (over 2,286m / 7,500ft) (20% - 80% humidity, No condensation) Operating Altitude: Operating Altitude:0 - 3,000 m <0 - 9,843 ft> (over 1,500m / 4,921ft: with high altitude mode) Start-Up Period: Start-Up Period:About 6 seconds, Warm-up Period: 30 seconds Cool Down Period: Cool Down Period:Instant Off Internal Speaker(s): Sound Output:2W Mono Direct Power On/Off: Direct Power On/Off:Yes Dimension Excluding Feet (W x H x D): Dimension Excluding Feet (W x H x D):302 x 77 x 234 mm Weight: Weight:Approx 2.5kg Air Filter: Maintenance Cycle*4:6,000 hours / 10,000 hours Fan Noise: Fan Noise (Normal / Eco):37dB / 28dB Power: Power Supply Voltage:100 - 240 V AC ±10%, 50/60 Hz Network: Wireless:Yes (Optional) Start Up Period: Start Up Period:About 6 seconds, Warm-up Period: 30 seconds Wireless Specifications (Wireless LAN): Supported Speed For Each Mode*3:IEEE 802.11b (2.4GHz): 11 Mbps IEEE 802.11g (2.4GHz): 54 Mbps IEEE 802.11n (2.4GHz): 130 MbpsWireless LAN Security:Quick Mode: WPA2-PSK, Advanced Mode: WPA/WPA2-PSKSupported Connection Mode:Infrastructure, Access Point Specifications of Main Parts: LCD:Size: 0.55” (D10) Native Resolution: XGALamp:Type: 210W UHE Life (Normal / Eco)*1: 6,000 hours / 10,000 hours Kabel HDMI 10 Meter | 2 Unit |  |  |
| 9. | ULTRASONIC CAVITATION | Slimming radio frequency RF cavitation lipolaser 6 in 1 40K Cavitation Ultrasound for Body Strong sound wave explosion fat head With collective strong sound wave head, strong sound wave of 40000HZ may be emitted to human body forimpacting fat cells fiercely and causing friction motion between fat cells. Strong Negative Vacuum Bipolar RF for Body Being integrated with the most advanced RF technology and strong negative vacuum technology, the instrument may directly reach the deep-seated fat body . Tripolar RF with Red Photon Therapy for face and Eyes's around 4polar rf 6polar rf Lipolaser infrared slimming machine | 1 Set |  |  |
| 10. | Fluoride Half-Cell Ion Selective Electrode (ISE) | Details The FC301B fluoride selective electrode is a potentiometric half-cell that housed within an epoxy body. The internal elements are isolated from the sample by a lanthanum fluoride crystal membrane. This solid state sensor requires a separate reference electrode to complete the measurement system. Hanna’s solid state half-cell ISEs are designed for use with the HI5315 reference half-cell. The reference half-cell features a cone style junction. The skirted cone geometry of the reference forms the liquid junction with the test solution at the tip of the junction cone, producing a highly stable reference potential and consistent flow rates of electrolyte into the solution. A simple press of the top portion of the ISE makes it easy to empty the electrolyte fill solution and replace when necessary. For the FC301B to accurately measure total fluoride concentration, it is important that the pH and ionic strength of the standards and sample be adjusted to a constant value. The total ionic strength adjustment buffer (TISAB) ensures that the solution pH is between pH 5 and 8 and that the activity coefficient is constant. The TISAB solution also preferentially complexes with various metal ions, such as aluminum and iron, which tend to form complexes with fluoride ions. TISAB thus ensures that these metal ions do not interfere, permitting an accurate total fluoride measurement. Measuring all solutions with a constant pH and ionic strength reduces the margin of error between measurements. The FC301B fluoride solid state ISE can measure from 1µM (0.02 mg/L) to saturated. Conversion Table for F- Multiply moles/L (M) to ppm (mg/L) 1.900 x 104 ppm (mg/L) to M (moles/L) 5.263 x 10-5 Features at-a-glance Fixed Sensing Modules - Solid state half-cell ISEs are electrodes that detect free ions in a solution. The lanthanum fluoride crystal sensing membrane is attached to the FC301B fluoride half-cell by a fixed sensing module for ease of use. Durable Epoxy Body - The probe body of the fluoride half-cell is composed of durable epoxy resin. BNC Connection - The FC301B has a universal BNC connector for easy connection to any benchtop meter with a female BNC probe input. Theory of Operation A solid state sensor electrode develops a voltage due to the ion exchange that occurs between the solution and the inorganic membrane. An equilibrium occurs due to the highly limited solubility of the membrane material in the sample. When the ionic strength of the solution is fixed by the addition of ionic strength adjuster, the voltage is proportional to the concentration of free ions in solution. Specifications Type solid state; half-cell Measurement Range Fluoride (F-) saturated to 1•10-6M, saturated to 0.02 mg/L (ppm) Optimum pH Range pH 5 to 8 Temperature Range 0 to 80 °C Approximate Slope -56 Diameter 12 mm Overall Length 120 mm Body Material epoxy Cable coaxial; 1 m (3.3’) Connection BNC Warranty 6 months | 1 Unit |  |  |
| 11. | Chloride Half-Cell Ion Selective Electrode (ISE) | Details The HI4007 chloride ion selective electrode is a potentiometric half-cell sensor housed within an epoxy body. The internal elements are isolated from the sample by a compressed silver chloride sensing membrane. This solid state sensor requires a separate reference electrode to complete the measurement system. Hanna’s solid state half-cell ISEs are designed for use with the HI5315 reference half-cell. The reference half-cell features a cone style junction. The skirted cone geometry of the reference forms the liquid junction with the test solution at the tip of the junction cone, producing a highly stable reference potential and consistent flow rates of electrolyte into the solution. A simple press of the top portion of the ISE makes it easy to empty the electrolyte fill solution and replace when necessary For the HI4007 to measure chloride accurately, it is important that the ionic strength of the standards and sample be adjusted to a high and constant value with the halide ionic strength adjuster (ISA) solution. The halide ISA ensures that the activity coefficient is constant so the concentration of free chloride ions can be measured. Measuring all solutions with a constant ionic strength reduces the margin of error between measurements. The HI4007 chloride solid state ISE can measure from 50µM (1.8 mg/L) to 1M (35,500 mg/L). Conversion Table for Cl- Multiply moles/L (M) to ppm (mg/L) 3.500 x 104 ppm (mg/L) to M (moles/L) 2.857 x 10-5 Features at-a-glance Fixed Sensing Modules - Solid state half-cell ISEs are electrodes that detect free ions in a solution. The highly insoluble, compressed sensing pellet is attached to the HI4007 chloride half-cell by a fixed sensing module for ease of use. Durable Epoxy Body - The probe body of the chloride half-cell ISE is composed of durable epoxy resin. BNC Connection - The HI4007 has a universal BNC connector for easy connection to any benchtop meter with a female BNC probe input. Theory of Operation A solid state sensor electrode develops a voltage due to the ion exchange that occurs between the solution and the inorganic membrane. An equilibrium occurs due to the highly limited solubility of the membrane material in the sample. When the ionic strength of the solution is fixed by the addition of ISA, the voltage is proportional to the concentration of free ions in solution. Specifications Type solid state; half-cell Measurement Range Chloride (Cl-) 1.0M to 5•10-5M, 35,500 to 1.8 mg/L (ppm) Optimum pH Range pH 2 to 11 Temperature Range 0 to 80 °C Approximate Slope -56 mV Diameter 12 mm Overall Length 120 mm Body Material epoxy Cable coaxial; 1 m (3.3’) Connection BNC Warranty 6 months | 1 Unit |  |  |
| Jumlah |  |
| PPN 10 % |  |
| Total |  |
| Terbilang : |

Pejabat Pembuat Komitmen,

TTD

Dr. Anton Prasetyo, M.Si.